## Request for Electronics
CONFIDENTIAL Customer Information:
Date: |  | Transport is Firm - Volume Temperature Correction Required
Customer Name: |  | Survey Completed by and Phone:
Site Street Address:
Shipper Name:
Shipper Contact and Phone:
City State Zip:
On Site Customer Contact:
Is Meter inside enclosed building?
On Site Customer Phone: |  | Phone Line Installed?
PSCo Gas Meter # |  | Phone Line Telephone Number:
Division Customer is in:
Load Point #:
Account/Premise #:
Meter Pressure (psig):
Meter Make & Model:
For Gas Meter Shop Use:
Date Received: |  | W.O. Order #:
Job Order #: _____________010 - 110 - 61280 - J _____46565
Max. Dial on Index: |  | Metscan Probe Factor:
Index Cover Used: |  | Test Dial:
Thermowell Installation Required? Y/N |  | Temperature Compensated Meter? Y/N
Ground Connection? Rod/Building cable |  | Press. Tap available? Y/N
Piping Modification required?
Installer Name: |  | Access Code & Telephone # Programmed:
Device Type: _________________ Device #: _______ |  | Verified Meter Reading (ccf):
Temp Comp Status Code:_______
Synch Call Date: |  | Synch Call Time:
Additional Information required if ECAT, Mini Max, Mini T or RTU is Installed - 1. If ECAT or Mini Max or T- Attach Item Report with Date &Time to allow *C&I to verify & file documentation 2. If RTU - Attach Print out of Program with Date & Time to allow *C&I to verify & file documentation (For both 1 & 2 Provide copy of Item Report or RTU Program to *C&I any time changes occur )
Atmospheric Pressure : (Determined based on City meter is located in and listed in the current Gas Standards Manual)
Base Pressure: | (1. If Mercury Head or Mini Max this value should be programmed as Atmospheric Pressure plus 0.25#) (2. If RTU this value is programmed at a standard of 14.73)
Compressibility set to calculate: Yes or No (Should be Yes if Metering Pressure is 25# or Higher) If Yes: Specific Gravity, %N2, & %CO2 must be entered with values determined by BTU Zone meter is located in & listed in the current Gas Standards Manual
Flowing Temperature set to calculate: Yes or No (Should be set to calculate unless Meter is TC)
Date: | Comments: Note Meter Exchange (if Applicable)
* C&I = Commercial & Industrial Billing - LAR 1500